## BE 13-07-27 03h55 Balco
| Standard used for normalization: |  |  | 07KNSTD3110
| 10/9 ratio for standard = |  | 2.85e-12
Carrier background for stds=
| Boron correction factor = |  | (3.7±0.3)x10^-4
[9 empty] | 10Be/9Be RATIO |  | 10Be/9Be RATIO |  | 10Be/9Be RATIO
[9 empty] | ( CORRECTED FOR BORON) |  | (SAMPLE BKGD) |  | (CORR. FOR BKGDS)
| DATE | SAMPLE NAME | CAMS # | runs | r_to_rstd | interror | exterror | Truefrac | BE_ratio1 | ratio_err1 | bkgd_ratio | bkgd_error | RATIO | ERROR
STANDARD | 2013-07-27 | KNSTD 3110 | BE35460 | 13 | 1.0113 | 0.0046963 | 0.0064653 | 0.99949 | 2.8822e-12 | 1.8426e-14 |  |  | 2.8822e-12 | 1.8426e-14 | 1.0113 | 0.6393% | 07KNSTD3110
STANDARD | 2013-07-27 | KNSTD 3110 | BE35461 | 12 | 0.99284 | 0.0047533 | 0.0057802 | 0.9994 | 2.8296e-12 | 1.6474e-14 |  |  | 2.8296e-12 | 1.6474e-14 | 0.99284 | 0.5822% | 07KNSTD3110
STANDARD | 2013-07-27 | KNSTD 3110 | BE35462 | 15 | 1.0002 | 0.0042151 | 0.0052418 | 0.99946 | 2.8505e-12 | 1.4939e-14 |  |  | 2.8505e-12 | 1.4939e-14 | 1.0002 | 0.5241% | 07KNSTD3110
STANDARD | 2013-07-27 | KNSTD 3110 | BE35463 | 15 | 0.99453 | 0.004088 | 0.0056392 | 0.99948 | 2.8344e-12 | 1.6072e-14 |  |  | 2.8344e-12 | 1.6072e-14 | 0.99453 | 0.567% | 07KNSTD3110
STANDARD | 2013-07-27 | KNSTD 3110 | BE35586 | 12 | 1.0026 | 0.004713 | 0.0045076 | 0.99953 | 2.8574e-12 | 1.3432e-14 |  |  | 2.8574e-12 | 1.3432e-14 | 1.0026 | 0.4701% | 07KNSTD3110
STANDARD | 2013-07-27 | KNSTD 3110 | BE35587 | 11 | 0.98155 | 0.0049581 | 0.0046921 | 0.99954 | 2.7974e-12 | 1.4131e-14 |  |  | 2.7974e-12 | 1.4131e-14 | 0.98155 | 0.5051% | 07KNSTD3110
STANDARD | 2013-07-27 | KNSTD 3110 | BE35588 | 14 | 1.0044 | 0.0044724 | 0.005621 | 0.99955 | 2.8625e-12 | 1.602e-14 |  |  | 2.8625e-12 | 1.602e-14 | 1.0044 | 0.5596% | 07KNSTD3110
STANDARD | 2013-07-27 | KNSTD 549 | BE35571 | 10 | 0.18576 | 0.001399 | 0.0011824 | 0.99897 | 5.2941e-13 | 3.9872e-15 |  |  | 5.2941e-13 | 3.9872e-15 | 0.98956 | 0.7531% | 07KNSTD3110
STANDARD | 2013-07-27 | KNSTD 549 | BE35572 | 5 | 0.18757 | 0.0020101 | 0.0031873 | 0.99913 | 5.3456e-13 | 9.0838e-15 |  |  | 5.3456e-13 | 9.0838e-15 | 0.99918 | 1.699% | 07KNSTD3110
STANDARD | 2013-07-27 | KNSTD 1032 | BE35412 | 7 | 0.35173 | 0.0022099 | 0.0028069 | 0.99898 | 1.0024e-12 | 7.9997e-15 |  |  | 1.0024e-12 | 7.9997e-15 | 1.0313 | 0.798% | 07KNSTD3110
STANDARD | 2013-07-27 | KNSTD 1032 | BE35580 | 6 | 0.34631 | 0.0023298 | 0.0024637 | 0.9993 | 9.8697e-13 | 7.0215e-15 |  |  | 9.8697e-13 | 7.0215e-15 | 1.0154 | 0.7114% | 07KNSTD3110
STANDARD | 2013-07-27 | KNSTD 9422 | BE35612 | 8 | 3.0095 | 0.012009 | 0.016667 | 0.99959 | 8.5772e-12 | 4.7501e-14 |  |  | 8.5772e-12 | 4.7501e-14 | 1.002 | 0.5538% | 07KNSTD3110
STANDARD | 2013-07-27 | KNSTD 9422 | BE35613 | 7 | 3.0084 | 0.012643 | 0.021935 | 0.99958 | 8.5741e-12 | 6.2514e-14 |  |  | 8.5741e-12 | 6.2514e-14 | 1.0016 | 0.7291% | 07KNSTD3110
Stone/Balco | 2013-07-27 | 11-ATH-238-CRN | BE35626 | 3 | 0.0022188 | 0.0001277 | 9.96e-05 | 0.94571 | 6.3236e-15 | 3.6394e-16 | 5.1215e-16 | 2.9099e-16 | 5.8114e-15 | 4.6597e-16 |  | 8.018% | 07KNSTD3110
Stone/Balco | 2013-07-27 | 11-ATH-273-SML | BE35627 | 4 | 0.023976 | 0.0003981 | 0.0003557 | 0.99302 | 6.8332e-14 | 1.1346e-15 | 5.1215e-16 | 2.9099e-16 | 6.7819e-14 | 1.1713e-15 |  | 1.727% | 07KNSTD3110
Stone/Balco | 2013-07-27 | 11-ATH-274-SML | BE35628 | 4 | 0.03915 | 0.0006501 | 0.0006348 | 0.99727 | 1.1158e-13 | 1.8528e-15 | 5.1215e-16 | 2.9099e-16 | 1.1107e-13 | 1.8755e-15 |  | 1.689% | 07KNSTD3110
Stone/Balco | 2013-07-27 | 11-ATH-279-SML | BE35629 | 4 | 0.42962 | 0.0048475 | 0.0036244 | 0.99943 | 1.2244e-12 | 1.3815e-14 | 5.1215e-16 | 2.9099e-16 | 1.2239e-12 | 1.3818e-14 |  | 1.129% | 07KNSTD3110
Stone/Balco | 2013-07-27 | 11-ATH-294-SML | BE35630 | 4 | 0.016012 | 0.0002887 | 0.0002977 | 0.98624 | 4.5634e-14 | 8.4845e-16 | 5.1215e-16 | 2.9099e-16 | 4.5121e-14 | 8.9696e-16 |  | 1.988% | 07KNSTD3110
Stone/Balco | 2013-07-27 | Blank_218_TH | BE35631 | 3 | 0.0001797 | 3.51e-05 | 0.0001021 | 0.55565 | 5.1215e-16 | 2.9099e-16 |  |  | 5.1215e-16 | 2.9099e-16 |  | 56.82% | 07KNSTD3110
|  | Sample | ID | Current (microA)
|  | 11-ATH-238-CRN | BE35626 | 29.712 | 25.7916 | 22.5656
|  | 11-ATH-273-SML | BE35627 | 31.9896 | 32.4077 | 29.1622 | 25.4125
|  | 11-ATH-274-SML | BE35628 | 28.3626 | 27.5851 | 26.7393 | 24.8266
|  | 11-ATH-279-SML | BE35629 | 27.2222 | 25.8981 | 26.1582 | 27.2235
|  | 11-ATH-294-SML | BE35630 | 35.0332 | 35.6853 | 31.9482 | 21.5647
|  | Blank_218_TH | BE35631 | 32.9212 | 33.6248 | 31.2248
|  | KNSTD 1032 | BE35412 | 26.1694 | 26.0339 | 24.4608 | 24.1026 | 23.4952 | 22.7036 | 22.3682
|  | KNSTD 1032 | BE35580 | 21.8356 | 22.8758 | 24.0818 | 21.8711 | 20.7793 | 19.3173
|  | KNSTD 3110 | BE35460 | 29.8167 | 26.2703 | 26.3632 | 26.5079 | 25.9789 | 26.3026 | 26.0784 | 24.495 | 24.1073 | 23.5098 | 23.3791 | 24.1071 | 24.0395
|  | KNSTD 3110 | BE35461 | 28.5639 | 26.873 | 26.3872 | 26.2949 | 25.7692 | 25.539 | 25.0975 | 24.9275 | 25.3512 | 25.2714 | 25.4628 | 24.9864
|  | KNSTD 3110 | BE35462 | 27.0811 | 25.88 | 25.865 | 25.9763 | 26.5263 | 26.72 | 26.405 | 26.2475 | 25.9357 | 25.6857 | 24.7844 | 25.0585 | 24.1698 | 23.8643 | 23.0886
|  | KNSTD 3110 | BE35463 | 26.4179 | 27.4105 | 27.6263 | 27.8135 | 27.5051 | 26.9049 | 25.9256 | 26.16 | 25.5775 | 25.5575 | 25.6436 | 26.4237 | 24.9357 | 25.3075 | 24.7415
|  | KNSTD 3110 | BE35586 | 30.6303 | 28.0385 | 26.9293 | 27.1763 | 26.45 | 26.1436 | 25.4974 | 25.2641 | 23.986 | 23.7756 | 23.6833 | 22.9311
|  | KNSTD 3110 | BE35587 | 26.9632 | 26.225 | 27.359 | 27.5568 | 26.8385 | 27.6079 | 24.7425 | 24.8786 | 24.8927 | 23.5977 | 24.3905
|  | KNSTD 3110 | BE35588 | 28.6765 | 26.3744 | 27.2757 | 27.0974 | 27.6027 | 28.2676 | 25.86 | 25.19 | 24.6575 | 25.5075 | 25.1575 | 24.775 | 24.1814 | 24.478
|  | KNSTD 549 | BE35571 | 21.5728 | 27.6612 | 27.6623 | 28.6946 | 27.5936 | 27.6474 | 27.5586 | 27.356 | 28.3355 | 26.8951 | 26.8037
|  | KNSTD 549 | BE35572 | 27.6181 | 27.0602 | 27.4325 | 27.142 | 25.5361 | 25.6544
|  | KNSTD 9422 | BE35612 | 26.0792 | 29.8522 | 24.6036 | 24.861 | 24.6756 | 24.7756 | 24.3478 | 17.5288 | 15.6141
|  | KNSTD 9422 | BE35613 | 27.3042 | 26.7846 | 26.9658 | 26.7975 | 25.985 | 26.31 | 24.9927 | 25.0805