## BE 13-11-16 02h52 Balco
| Standard used for normalization: |  |  | 07KNSTD3110
| 10/9 ratio for standard = |  | 2.85e-12
Carrier background for stds=
| Boron correction factor = |  | (1.1±0.1)x10^-4
[9 empty] | 10Be/9Be RATIO |  | 10Be/9Be RATIO |  | 10Be/9Be RATIO
[9 empty] | ( CORRECTED FOR BORON) |  | (SAMPLE BKGD) |  | (CORR. FOR BKGDS)
| DATE | SAMPLE NAME | CAMS # | runs | r_to_rstd | interror | exterror | Truefrac | BE_ratio1 | ratio_err1 | bkgd_ratio | bkgd_error | RATIO | ERROR
STANDARD | 2013-11-16 | KNSTD 3110 | BE36196 | 13 | 1.0052 | 0.0044768 | 0.0033694 | 0.99985 | 2.865e-12 | 1.2759e-14 |  |  | 2.865e-12 | 1.2759e-14 | 1.0052 | 0.4453% | 07KNSTD3110
STANDARD | 2013-11-16 | KNSTD 3110 | BE36197 | 13 | 0.99729 | 0.0043454 | 0.0056501 | 0.99986 | 2.8423e-12 | 1.6103e-14 |  |  | 2.8423e-12 | 1.6103e-14 | 0.99729 | 0.5665% | 07KNSTD3110
STANDARD | 2013-11-16 | KNSTD 3110 | BE36198 | 10 | 0.99532 | 0.0048757 | 0.0047172 | 0.99986 | 2.8367e-12 | 1.3896e-14 |  |  | 2.8367e-12 | 1.3896e-14 | 0.99532 | 0.4899% | 07KNSTD3110
STANDARD | 2013-11-16 | KNSTD 3110 | BE36199 | 16 | 0.99316 | 0.0038899 | 0.0042466 | 0.99986 | 2.8305e-12 | 1.2103e-14 |  |  | 2.8305e-12 | 1.2103e-14 | 0.99316 | 0.4276% | 07KNSTD3110
STANDARD | 2013-11-16 | KNSTD 3110 | BE36200 | 14 | 1.0075 | 0.0042329 | 0.0058939 | 0.99985 | 2.8713e-12 | 1.6798e-14 |  |  | 2.8713e-12 | 1.6798e-14 | 1.0075 | 0.585% | 07KNSTD3110
STANDARD | 2013-11-16 | KNSTD 3110 | BE36201 | 14 | 1.0005 | 0.0042186 | 0.0041293 | 0.99985 | 2.8514e-12 | 1.2023e-14 |  |  | 2.8514e-12 | 1.2023e-14 | 1.0005 | 0.4217% | 07KNSTD3110
STANDARD | 2013-11-16 | KNSTD 3110 | BE35824 | 10 | 0.99671 | 0.0050474 | 0.0074718 | 0.99979 | 2.8406e-12 | 2.1295e-14 |  |  | 2.8406e-12 | 2.1295e-14 | 0.99671 | 0.7496% | 07KNSTD3110
STANDARD | 2013-11-16 | KNSTD 549 | BE36237 | 9 | 0.18084 | 0.00141 | 0.0013556 | 0.99978 | 5.154e-13 | 4.0185e-15 |  |  | 5.154e-13 | 4.0185e-15 | 0.96337 | 0.7797% | 07KNSTD3110
STANDARD | 2013-11-16 | KNSTD 549 | BE36238 | 9 | 0.18323 | 0.0014394 | 0.0013156 | 0.99971 | 5.222e-13 | 4.1023e-15 |  |  | 5.222e-13 | 4.1023e-15 | 0.97608 | 0.7856% | 07KNSTD3110
STANDARD | 2013-11-16 | KNSTD 1032 | BE36180 | 9 | 0.33832 | 0.0017744 | 0.0041963 | 0.99978 | 9.6423e-13 | 1.1959e-14 |  |  | 9.6423e-13 | 1.1959e-14 | 0.992 | 1.24% | 07KNSTD3110
STANDARD | 2013-11-16 | KNSTD 1032 | BE36181 | 8 | 0.33852 | 0.0018915 | 0.0020915 | 0.99977 | 9.6479e-13 | 5.9608e-15 |  |  | 9.6479e-13 | 5.9608e-15 | 0.99259 | 0.6178% | 07KNSTD3110
STANDARD | 2013-11-16 | KNSTD 9422 | BE36228 | 8 | 2.967 | 0.011378 | 0.0041519 | 0.99987 | 8.4559e-12 | 3.2428e-14 |  |  | 8.4559e-12 | 3.2428e-14 | 0.98784 | 0.3835% | 07KNSTD3110
STANDARD | 2013-11-16 | KNSTD 9422 | BE36229 | 6 | 3.0538 | 0.013483 | 0.010627 | 0.99987 | 8.7033e-12 | 3.8428e-14 |  |  | 8.7033e-12 | 3.8428e-14 | 1.0167 | 0.4415% | 07KNSTD3110
Balco | 2013-11-16 | 11-ATH-271-SML | BE36169 | 3 | 0.31886 | 0.0043958 | 0.0081405 | 0.99977 | 9.0874e-13 | 2.32e-14 | 5.5632e-16 | 1.559e-16 | 9.0819e-13 | 2.3201e-14 |  | 2.555% | 07KNSTD3110
Balco | 2013-11-16 | 11-ATH-297-NAN | BE36170 | 4 | 0.021979 | 0.0004698 | 0.0006717 | 0.99112 | 6.2641e-14 | 1.9143e-15 | 5.5632e-16 | 1.559e-16 | 6.2085e-14 | 1.9207e-15 |  | 3.094% | 07KNSTD3110
Balco | 2013-11-16 | 11-ATH-300-NAN | BE36171 | 4 | 0.021582 | 0.0004031 | 0.0009934 | 0.99618 | 6.151e-14 | 2.8312e-15 | 5.5632e-16 | 1.559e-16 | 6.0953e-14 | 2.8355e-15 |  | 4.652% | 07KNSTD3110
Balco | 2013-11-16 | 11-ATH-303-SML | BE36172 | 3 | 0.15458 | 0.0021424 | 0.0040135 | 0.99958 | 4.4057e-13 | 1.1438e-14 | 5.5632e-16 | 1.559e-16 | 4.4001e-13 | 1.144e-14 |  | 2.6% | 07KNSTD3110
Balco | 2013-11-16 | 11-ATH-304-SML | BE36173 | [9 empty] | no current |  |  |  | 07KNSTD3110
Balco | 2013-11-16 | 11-ATH-306-SML | BE36174 | 3 | 0.086829 | 0.0012135 | 0.0025085 | 0.99906 | 2.4746e-13 | 7.1492e-15 | 5.5632e-16 | 1.559e-16 | 2.4691e-13 | 7.1509e-15 |  | 2.896% | 07KNSTD3110
Balco | 2013-11-16 | Batch_226_Blank | BE36175 | 2 | 0.0001952 | 4.21e-05 | 5.46e-05 | 0.8329 | 5.5632e-16 | 1.5561e-16 |  |  | 5.5632e-16 | 1.5561e-16 |  | 27.97% | 07KNSTD3110
|  | Sample | ID | Current (microA)
|  | 11-ATH-271-SML | BE36169 | 26.8854 | 26.0067 | 26.4727
|  | 11-ATH-297-NAN | BE36170 | 12.1695 | 16.4084 | 13.732 | 13.5195
|  | 11-ATH-300-NAN | BE36171 | 25.5855 | 21.7015 | 17.8189 | 13.7422
|  | 11-ATH-303-SML | BE36172 | 21.0321 | 25.9538 | 26.2461
|  | 11-ATH-304-SML | BE36173 | 0.7479 | 0.25614
|  | 11-ATH-306-SML | BE36174 | 16.008 | 17.3301 | 12.2461
|  | Batch_226_Blank | BE36175 | 26.3063 | 26.0329
|  | KNSTD 1032 | BE36180 | 19.7861 | 19.8 | 18.5625 | 16.5455 | 16.4582 | 18.0613 | 18.2144 | 13.8429 | 12.6982
|  | KNSTD 1032 | BE36181 | 20.5594 | 17.726 | 17.3079 | 16.6693 | 15.9289 | 15.2429 | 11.4725 | 10.0643
|  | KNSTD 3110 | BE35824 | 23.3375 | 22.4429 | 21.2023 | 20.5614 | 20.1911 | 17.1 | 17.2887 | 17.1462 | 17.5019 | 18.34
|  | KNSTD 3110 | BE36196 | 22.7098 | 22.945 | 20.6295 | 20.8091 | 20.5756 | 20.8778 | 17.7431 | 18.442 | 18.8583 | 16.9189 | 17.2204 | 17.7058 | 17.2704
|  | KNSTD 3110 | BE36197 | 23.8625 | 21.2691 | 20.6705 | 20.8068 | 21.4909 | 20.4614 | 17.8098 | 18.2804 | 17.5212 | 18.1941 | 19.138 | 19.0431 | 18.7574
|  | KNSTD 3110 | BE36198 | 22.3767 | 18.6521 | 19.1458 | 19.3354 | 19.866 | 20.1913 | 18.6939 | 18.7392 | 18.3882 | 17.9942
|  | KNSTD 3110 | BE36199 | 21.3955 | 19.7596 | 19.3596 | 18.97 | 18.5286 | 19.0979 | 19.6894 | 17.4093 | 17.2167 | 17.6736 | 17.6358 | 16.9345 | 14.9234 | 14.103 | 13.9884 | 13.6186
|  | KNSTD 3110 | BE36200 | 22.114 | 21.5952 | 20.993 | 20.8048 | 21.0209 | 20.7875 | 18.3061 | 18.228 | 18.072 | 17.886 | 18.3939 | 17.8941 | 17.313 | 17.5151 | 17.3056
|  | KNSTD 3110 | BE36201 | 22.3643 | 18.0765 | 18.638 | 18.6245 | 18.3184 | 18.4347 | 18.7167 | 19.1102 | 19.1775 | 19.5729 | 19.0569 | 19.8833 | 19.156 | 17.45
|  | KNSTD 549 | BE36237 | 25.7013 | 22.4711 | 21.2777 | 19.7864 | 18.4362 | 18.4306 | 18.292 | 17.8652 | 17.8766
|  | KNSTD 549 | BE36238 | 23.1256 | 21.5511 | 21.413 | 19.54 | 19.9173 | 18.9125 | 18.6064 | 18.8037 | 19.0101
|  | KNSTD 9422 | BE36228 | 23.2071 | 20.3956 | 20.1261 | 18.1922 | 17.8981 | 17.6811 | 17.5296 | 17.3852 | 17.7019
|  | KNSTD 9422 | BE36229 | 22.6425 | 18.9479 | 18.5857 | 18.7204 | 18.6592 | 18.636