## BE 13-11-18 03h27 Stone_Balco
| Standard used for normalization: |  |  | 07KNSTD3110
| 10/9 ratio for standard = |  | 2.85e-12
Carrier background for stds=
| Boron correction factor = |  | (1.0±0.1)x10^-4
[9 empty] | 10Be/9Be RATIO |  | 10Be/9Be RATIO |  | 10Be/9Be RATIO
[9 empty] | ( CORRECTED FOR BORON) |  | (SAMPLE BKGD) |  | (CORR. FOR BKGDS)
| DATE | SAMPLE NAME | CAMS # | runs | r_to_rstd | interror | exterror | Truefrac | BE_ratio1 | ratio_err1 | bkgd_ratio | bkgd_error | RATIO | ERROR
STANDARD | 2013-11-18 | KNSTD 3110 | BE36213 | 10 | 0.97682 | 0.0049168 | 0.0068609 | 0.99988 | 2.7839e-12 | 1.9554e-14 |  |  | 2.7839e-12 | 1.9554e-14 | 0.97682 | 0.7024% | 07KNSTD3110
STANDARD | 2013-11-18 | KNSTD 3110 | BE36214 | 10 | 1.0061 | 0.0052174 | 0.0053043 | 0.99988 | 2.8675e-12 | 1.5117e-14 |  |  | 2.8675e-12 | 1.5117e-14 | 1.0061 | 0.5272% | 07KNSTD3110
STANDARD | 2013-11-18 | KNSTD 3110 | BE36215 | 10 | 0.99521 | 0.0051696 | 0.0090103 | 0.99988 | 2.8364e-12 | 2.5679e-14 |  |  | 2.8364e-12 | 2.5679e-14 | 0.99521 | 0.9054% | 07KNSTD3110
STANDARD | 2013-11-18 | KNSTD 3110 | BE36216 | 10 | 0.98404 | 0.0049845 | 0.0046175 | 0.99988 | 2.8045e-12 | 1.4206e-14 |  |  | 2.8045e-12 | 1.4206e-14 | 0.98404 | 0.5065% | 07KNSTD3110
STANDARD | 2013-11-18 | KNSTD 3110 | BE36217 | 11 | 1.0056 | 0.0048995 | 0.0034415 | 0.99987 | 2.8659e-12 | 1.3964e-14 |  |  | 2.8659e-12 | 1.3964e-14 | 1.0056 | 0.4872% | 07KNSTD3110
STANDARD | 2013-11-18 | KNSTD 3110 | BE36218 | 11 | 0.9923 | 0.0048973 | 0.0040111 | 0.99987 | 2.828e-12 | 1.3957e-14 |  |  | 2.828e-12 | 1.3957e-14 | 0.9923 | 0.4935% | 07KNSTD3110
STANDARD | 2013-11-18 | KNSTD 3110 | BE36219 | 12 | 1.0029 | 0.0047553 | 0.0041688 | 0.99988 | 2.8584e-12 | 1.3553e-14 |  |  | 2.8584e-12 | 1.3553e-14 | 1.0029 | 0.4741% | 07KNSTD3110
STANDARD | 2013-11-18 | KNSTD 3110 | BE36220 | 12 | 1.022 | 0.0046237 | 0.0062085 | 0.99986 | 2.9127e-12 | 1.7694e-14 |  |  | 2.9127e-12 | 1.7694e-14 | 1.022 | 0.6075% | 07KNSTD3110
STANDARD | 2013-11-18 | KNSTD 549 | BE36178 | 9 | 0.1826 | 0.0014381 | 0.0017799 | 0.99972 | 5.204e-13 | 5.0727e-15 |  |  | 5.204e-13 | 5.0727e-15 | 0.97271 | 0.9748% | 07KNSTD3110
STANDARD | 2013-11-18 | KNSTD 549 | BE36179 | 12 | 0.18892 | 0.0012887 | 0.0016325 | 0.99979 | 5.3843e-13 | 4.6526e-15 |  |  | 5.3843e-13 | 4.6526e-15 | 1.0064 | 0.8641% | 07KNSTD3110
STANDARD | 2013-11-18 | KNSTD 1032 | BE36186 | 9 | 0.33857 | 0.0018113 | 0.0018756 | 0.99981 | 9.6493e-13 | 5.3455e-15 |  |  | 9.6493e-13 | 5.3455e-15 | 0.99272 | 0.554% | 07KNSTD3110
STANDARD | 2013-11-18 | KNSTD 1032 | BE36187 | 9 | 0.34066 | 0.0018606 | 0.0024474 | 0.99977 | 9.7087e-13 | 6.9751e-15 |  |  | 9.7087e-13 | 6.9751e-15 | 0.99883 | 0.7184% | 07KNSTD3110
STANDARD | 2013-11-18 | KNSTD 9422 | BE36237 | 9 | 2.9723 | 0.012277 | 0.016186 | 0.99989 | 8.471e-12 | 4.613e-14 |  |  | 8.471e-12 | 4.613e-14 | 0.9896 | 0.5446% | 07KNSTD3110
STANDARD | 2013-11-18 | KNSTD 9422 | BE36235 | 9 | 3.0926 | 0.013124 | 0.0083204 | 0.99988 | 8.8141e-12 | 3.7403e-14 |  |  | 8.8141e-12 | 3.7403e-14 | 1.0297 | 0.4244% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-205-WNR | BE35953 | 3 | 0.22562 | 0.0042091 | 0.0025493 | 0.9996 | 6.4302e-13 | 1.1996e-14 | 1.3342e-15 | 1.7656e-16 | 6.4169e-13 | 1.1997e-14 |  | 1.87% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-211-WNR | BE35954 | 3 | 1.0883 | 0.010458 | 0.010955 | 0.99988 | 3.1016e-12 | 3.1223e-14 | 1.3342e-15 | 1.7656e-16 | 3.1003e-12 | 3.1223e-14 |  | 1.007% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-214-WNR | BE35955 | 3 | 1.5148 | 0.013632 | 0.019845 | 0.99988 | 4.3172e-12 | 5.6558e-14 | 1.3342e-15 | 1.7656e-16 | 4.3158e-12 | 5.6559e-14 |  | 1.31% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-218-CRN | BE35956 | 3 | 1.3823 | 0.012079 | 0.022106 | 0.99989 | 3.9397e-12 | 6.3001e-14 | 1.3342e-15 | 1.7656e-16 | 3.9384e-12 | 6.3001e-14 |  | 1.6% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-222-CRN | BE35957 | 3 | 2.3265 | 0.016745 | 0.02968 | 0.99989 | 6.6306e-12 | 8.4587e-14 | 1.3342e-15 | 1.7656e-16 | 6.6293e-12 | 8.4587e-14 |  | 1.276% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-224-CRN | BE35958 | 3 | 0.080382 | 0.0015022 | 0.0003852 | 0.99967 | 2.2909e-13 | 4.2813e-15 | 1.3342e-15 | 1.7656e-16 | 2.2775e-13 | 4.2849e-15 |  | 1.881% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-225-CRN | BE35959 | 4 | 0.078305 | 0.0012644 | 0.000581 | 0.99945 | 2.2317e-13 | 3.6035e-15 | 1.3342e-15 | 1.7656e-16 | 2.2183e-13 | 3.6079e-15 |  | 1.626% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-226-CRN | BE35960 | 4 | 0.070513 | 0.0011383 | 0.0012549 | 0.99961 | 2.0096e-13 | 3.5765e-15 | 1.3342e-15 | 1.7656e-16 | 1.9963e-13 | 3.5808e-15 |  | 1.794% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-228-CRN | BE35961 | 5 | 0.059998 | 0.0008695 | 0.0011767 | 0.99916 | 1.7099e-13 | 3.3536e-15 | 1.3342e-15 | 1.7656e-16 | 1.6966e-13 | 3.3582e-15 |  | 1.979% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-235-CRN | BE35962 | 5 | 0.11877 | 0.0016908 | 0.002489 | 0.99956 | 3.3848e-13 | 7.0937e-15 | 1.3342e-15 | 1.7656e-16 | 3.3715e-13 | 7.0958e-15 |  | 2.105% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-240-CRN | BE35963 | 4 | 0.0023967 | 0.0001218 | 0.0003215 | 0.98347 | 6.8306e-15 | 9.1628e-16 | 1.3342e-15 | 1.7656e-16 | 5.4964e-15 | 9.3313e-16 |  | 16.98% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-268-SML | BE35964 | 3 | 0.099258 | 0.0018698 | 0.0004612 | 0.99959 | 2.8288e-13 | 5.3289e-15 | 1.3342e-15 | 1.7656e-16 | 2.8155e-13 | 5.3319e-15 |  | 1.894% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-276-SML | BE35965 | 4 | 0.024853 | 0.0004122 | 0.0004743 | 0.9988 | 7.0831e-14 | 1.3518e-15 | 1.3342e-15 | 1.7656e-16 | 6.9497e-14 | 1.3632e-15 |  | 1.962% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-278-SML | BE35966 | 5 | 0.048308 | 0.0006975 | 0.0013463 | 0.99926 | 1.3768e-13 | 3.837e-15 | 1.3342e-15 | 1.7656e-16 | 1.3634e-13 | 3.841e-15 |  | 2.817% | 07KNSTD3110
Stone/Balco | 2013-11-18 | 11-ATH-302-SML | BE35967 | 2 | 0.28586 | 0.0065027 | 0.013919 | 0.99973 | 8.1469e-13 | 3.9669e-14 | 1.3342e-15 | 1.7656e-16 | 8.1336e-13 | 3.967e-14 |  | 4.877% | 07KNSTD3110
Stone/Balco | 2013-11-18 | BATCH-221-BLANK | BE35991 | 3 | 0.0001587 | 3.33e-05 | 1.71e-05 | 0.79444 | 4.523e-16 | 9.4905e-17 |  |  | 4.523e-16 | 9.4905e-17 |  | 20.98% | 07KNSTD3110
Stone/Balco | 2013-11-18 | BATCH-225-BLANK | BE35992 | 2 | 0.0007776 | 9.06e-05 | 1.88e-05 | 0.96556 | 2.2162e-15 | 2.5821e-16 |  |  | 2.2162e-15 | 2.5821e-16 |  | 11.65% | 07KNSTD3110
|  | Sample | ID | Current (microA)
|  | 11-ATH-205-WNR | BE35953 | 10.8 | 14.6 | 14.4
|  | 11-ATH-211-WNR | BE35954 | 26.8 | 25.3 | 25.3 | 26.8
|  | 11-ATH-214-WNR | BE35955 | 28.3 | 26.5 | 25.9
|  | 11-ATH-218-CRN | BE35956 | 28.3 | 27 | 27.4 | 26.9
|  | 11-ATH-222-CRN | BE35957 | 19.9 | 20.4 | 22.9 | 24.9
|  | 11-ATH-224-CRN | BE35958 | 26.8 | 26.7 | 27.3
|  | 11-ATH-225-CRN | BE35959 | 22.8 | 21.7 | 22.6 | 23.5 | 25.3 | 21.5
|  | 11-ATH-226-CRN | BE35960 | 27.4 | 28.1 | 27.8 | 27.1
|  | 11-ATH-228-CRN | BE35961 | 25.1 | 23.9 | 22 | 20.8 | 19
|  | 11-ATH-235-CRN | BE35962 | 22.8 | 21.1 | 21.4 | 17.9 | 15.5
|  | 11-ATH-240-CRN | BE35963 | 29.2 | 25.8 | 23.8 | 21.2
|  | 11-ATH-268-SML | BE35964 | 23 | 21.5 | 21.1
|  | 11-ATH-276-SML | BE35965 | 24.4 | 27.2 | 26.6 | 20.7
|  | 11-ATH-278-SML | BE35966 | 23.9 | 25 | 25.1 | 22.7 | 21.4
|  | 11-ATH-302-SML | BE35967 | 9.9 | 24.3 | 26.1
|  | BATCH-221-BLANK | BE35991 | 29.4 | 27.2 | 19.9
|  | BATCH-225-BLANK | BE35992 | 29.4 | 28.1
|  | KNSTD 1032 | BE36186 | 22.3 | 22.3 | 22.4 | 20.9 | 21 | 20.7 | 19.8 | 18.5 | 12.3
|  | KNSTD 1032 | BE36187 | 21.6 | 18.6 | 18.5 | 20.8 | 20.7 | 20.1 | 15.2 | 10.4 | 8.7
|  | KNSTD 3110 | BE36213 | 27.1 | 22.1 | 22.9 | 23.5 | 23.7 | 22.6 | 22.2 | 22.1 | 22.6 | 22.6
|  | KNSTD 3110 | BE36214 | 27.3 | 23.5 | 23.4 | 23.5 | 23.7 | 21.8 | 21.5 | 21.5 | 22.2 | 22.2
|  | KNSTD 3110 | BE36215 | 25.7 | 19.7 | 24.6 | 23.3 | 23.5 | 23.2 | 23.6 | 22.2 | 21.4 | 21.4 | 21.7
|  | KNSTD 3110 | BE36216 | 26.9 | 22 | 23.5 | 23.2 | 24.3 | 23.2 | 23.2 | 22.8 | 22.7 | 22.6
|  | KNSTD 3110 | BE36217 | 27.6 | 22.6 | 22.1 | 22.1 | 21.1 | 22.8 | 23.1 | 22.6 | 22.9 | 21.6 | 21.9
|  | KNSTD 3110 | BE36218 | 27 | 22.9 | 23.3 | 22.7 | 24.1 | 23.6 | 24.1 | 23.9 | 21.7 | 21.6 | 21.3
|  | KNSTD 3110 | BE36219 | 26.3 | 22 | 21.3 | 22 | 22.2 | 22.2 | 21.3 | 22 | 22.4 | 22.5 | 23.1 | 22.4
|  | KNSTD 3110 | BE36220 | 24.4 | 22.1 | 23.2 | 23 | 22.5 | 22.2 | 22.1 | 22.4 | 21.3 | 22.1 | 22.4 | 23.3
|  | KNSTD 549 | BE36178 | 26.4 | 24.1 | 23.9 | 22.5 | 23.4 | 23.4 | 22.9 | 22.7 | 21.9
|  | KNSTD 549 | BE36179 | 26.5 | 25.2 | 25 | 24.3 | 23.4 | 23 | 23.4 | 22.9 | 22.4 | 21.9 | 20.9 | 19.3
|  | KNSTD 9422 | BE36235 | 25.9 | 22.6 | 22.1 | 22.4 | 22.1 | 22 | 21.9 | 21.6 | 21.5
|  | KNSTD 9422 | BE36237 | 26.9 | 21.6 | 21.8 | 20.8 | 20.5 | 18.6 | 17 | 16.6 | 16.3